## ReOld
OS-91 | (OS-91) | IN7 | Display_Name
"AM-91" | (AM-91) | IN7
"MA-91" | (MA-91) | IN7
"AR-91" | (AR-91) | IN7
"RE-91" | (RE-91) | IN7
"GI-91" | (GI-91) | IN7
"GI-94" | (GI-94) | IN7
"IX-91" | (IX-91) | IN7
"AG-91" | (AG-91) | IN7
"AF-91" | (AF-91) | IN7
"GH-91" | (GH-91) | IN7
"EG-91" | (EG-91) | IN7
"GP-91" | (GP-91) | IN7
"TP-91" | (TP-91) | IN7
"AV-91" | (AV-91) | IN7
KR-91 | (KR-91) | IN6
"JM-91" | POWERICA WIND | IN4
"GS-91" | (GS-91) | IN6
"CR-91" | SKRPL WIND INJECTION | IN4
"MJ-91" | SESPL WIND | IN4
"GR-91" | Gandhar SOLAR INJECTION | IN4
SBESS |  | IN4

## RE
RE | SEM | file | SCADA | Display_Name
OS-91 | OS-91 | IN7 | Ostro_Wind | ओस्ट्रो पवन
AM-91 | AM-91 | IN7 | Acme_Solar | एकमे सोलर
MA-91 | MA-91 | IN7 | Mahendra_Solar | महेंद्र सोलर
AR-91 | AR-91 | IN7 | Arinsun_Solar | अरिन्सन सोलर
RE-91 | RE-91 | IN7 | Bhuvad_Wind | भुवद पवन
GI-91 | GI-91 | IN7 | Vadva_Wind | वडवा पवन
GI-94 | GI-94 | IN7 | Naranpar_Wind | नारनपार पवन
IX-91 | IX-91 | IN7 | Dayapar_Wind | दयापार पवन
AG-91 | AG-91 | IN7 | Ratadiya_Wind | रताड़िया पवन
AF-91 | AF-91 | IN7 | Alfanar_Wind | अल्फानारी पवन
GH-91 | GH-91 | IN7 | Gadhsisa_Wind | गढ़सीसा पवन
EG-91 | EG-91 | IN7 | Engie_Solar | एंजी सोलर
GP-91 | GP-91 | IN7 | Gipcl_Solar | जीआईपीसीएल सोलर
TP-91 | TP-91 | IN7 | Tprel_Solar | टीपीआरईएल सोलर
AV-91 | AV-91 | IN7 | Avikiran_Wind | अविकिरन पवन
KR-91 | KR-91 | IN6 | KAWAS_Solar | खावास सोलर
JM-91 | JM-91 | IN4 | Powerica_Wind | पावारिका पवन
GS-91 | GS-91 | IN6 | GSECL_Solar | जीएसईसीएल सोलर
CR-91 | CR-91 | IN4 | Sitac_Wind | साइटेक पवन
MJ-91 | MJ-91 | IN4 | Srijan_Wind | सृजन पवन
GR-91 | GR-91 | IN4 | Gandhar_Solar | गंधार सोलर
NK-91 | NK-91 | NK1 | Nakhatrana_Wind | नखतराना पवन
AP-91 | AP-91 | AP1 | Khakharda_Wind | खाखरदा पवन
SN-91 | SN-91 | SN1 | SNTPC_RE_Solar | एस.एन.टी.पी.सी. सोलर
SB-91 | SB-91 | SB1 | SBES2_Wind | एस.बी.ई.एस. पवन
SF-91 | SF-91 | SF1 | Sherisha_Solar | शेरिशा सोलर
NE-91 | NE-91 | NE1 | Kotdamadh_Wind | कोटदामध पवन
MS-91 | MS-91 | MS1 | Bhawsingpura_Solar | भवसिंगपुरा सोलर
TS-91 | TS-91 | TS1 | Sidpur_Wind | सिदपुर पवन

## ISGS
ISGS | SEM | file | SCADA | Display_Name
KO-98 | KO-98 | IN6 | KSTP_III_EXPP | KSTP_III_EXPP
AC-91 | AC-91 | IN6 | ACBIL_EXPP | ACBIL_EXPP
BL-91 | BL-91 | IN6 | BALCO_EXPP | BALCO_EXPP
CG-91 | CG-91 | IN6 | CGPL_EXPP | CGPL_EXPP
DB-91 | DB-91 | IN6 | DBPWR_EXPP | DBPWR_EXPP
DC-91 | DC-91 | IN6 | JDCPP_JINDL | JDCPP_JINDL
DG-91 | DG-91 | IN6 | DGEN_EXPP | DGEN_EXPP
DW-91 | DW-91 | IN6 | DHRW_EXPP | DHRW_EXPP
EM-91 | EM-91 | IN6 | EMCO_EXPP | EMCO_EXPP
GA-91 | GA-91 | IN6 | JHNR_EXP | JHNR_EXP
GM-91 | GM-91 | IN6 | GMR_RAI_EXPP | GMR_RAI_EXPP
JD-96 | JD-96 | IN6 | JINDAL_EXPP | JINDAL_EXPP
JD-97 | JD-97 | IN6 | JPLII_EXPP | JPLII_EXPP
JH-91 | JH-91 | IN6 | JHABUA_EXPP | JHABUA_EXPP
JY-91 | JY-91 | IN6 | JPNIG_EXPP | JPNIG_EXPP
KA-94 | KA-94 | IN6 | KAPS_EXPP | KAPS_EXPP
KB-91 | KB-91 | IN6 | KWPCL_EXPP | KWPCL_EXPP
KS-91 | KS-91 | IN6 | KSK_EXPP | KSK_EXPP
KW-91 | KW-91 | IN6 | KAWAS_EXP | KAWAS_EXP
LK-91 | LK-91 | IN6 | LANCO_EXPP | LANCO_EXPP
MB-91 | MB-91 | IN6 | MBPWR_EXPP | MBPWR_EXPP
MD-96 | MD-96 | IN6 | MDA1_EXPP | MDA1_EXPP
MD-97 | MD-97 | IN6 | MDA2_EXPP | MDA2_EXPP
MN-91 | MN-91 | IN6 | ESRMN_EXPP | ESRMN_EXPP
NS-91 | NS-91 | IN6 | NSPCL_EXPP | NSPCL_EXPP
RG-91 | RG-91 | IN6 | RGPPL_EXPP | RGPPL_EXPP
RK-91 | RK-91 | IN6 | RKM_EXPP | RKM_EXPP
SA-91 | SA-91 | IN6 | SASAN_EXP | SASAN_EXP
SK-91 | SK-91 | IN7 | SKS_EXPP | SKS_EXPP
TA-91 | TA-91 | IN7 | TAPS1_EXPP | TAPS1_EXPP
TA-94 | TA-94 | IN7 | TAPS2_EXPP | TAPS2_EXPP
TR-91 | TR-91 | IN7 | TRN_EXPP | TRN_EXPP
VI-96 | VI-96 | IN7 | VIN1_EXPP | VIN1_EXPP
VI-97 | VI-97 | IN7 | VIN2_EXPP | VIN2_EXPP
VI-99 | VI-99 | IN7 | VIN3_EXPP | VIN3_EXPP
VI-V4 | VI-V4 | IN7 | VSTPSIV_EXPP | VSTPSIV_EXPP
VI-V5 | VI-V5 | IN7 | VSTPS5_EXPP | VSTPS5_EXPP
SO-91 | SO-91 | IN7 | SNTPC_EXPP | SNTPC_EXPP
LA-91 | LA-91 | IN7 | LARA4_EXPP | LARA4_EXPP
GD-91 | GD-91 | IN7 | GDRWD_EXPP | GDRWD_EXPP
KH-91 | KH-91 | IN7 | KHRGN_EXPP | KHRGN_EXPP
SS-91 | SS-91 | IN7 | SSP_EXPP | SSP_EXPP
KA-95 | KA-95 | IN7 | KAP34_EXPP | KAP34_EXPP
KO-97 | KO-97 | IN6 | KSTPS_I_GROSS | KSTPS_I_GROSS

## Lines
Lines | SEM | file | SCADA | Display_Name
CS-71 | CS-71 | AC1 | 400kV ACBIL line at Bilaspur | ACBIL_EXPP
CS-72 | CS-72 | AC1 | 400kV MCCPL line at Bilaspur | ACBIL_EXPP
PC-49 | PC-49 | BL1 | 400KV BALCO LINE-2 AT DHARAMJAYGARH | BALCO_EXPP
PC-48 | PC-48 | BL1 | 400KV BALCO LINE-1 AT DHARAMJAYGARH | BALCO_EXPP
BL-31 | BL-31 | BL1 | 220kV Smelter-2 line-1 at 1200MW PP bus of BALCO | BALCO_EXPP
BL-32 | BL-32 | BL1 | 220kV Smelter-2 line-2 at 1200MW PP bus of BALCO | BALCO_EXPP
BL-35 | BL-35 | BL1 | 220kV Smelter-2 line-3 at 1200MW PP bus of BALCO | BALCO_EXPP
BL-36 | BL-36 | BL1 | 220kV MRSDS line-2 at 1200MW PP bus of BALCO | BALCO_EXPP
BL-39 | BL-39 | BL1 | 220kV MRSDS line-1 at Smelter-1 bus of BALCO | BALCO_EXPP
BL-40 | BL-40 | BL1 | 220kV MRSDS line-2 at Smelter-1 bus of BALCO | BALCO_EXPP
CG-21 | CG-21 | CG1 | 400kV Bhachau line-1 at CGPL | CGPL_EXPP
CG-23 | CG-23 | CG1 | 400kV Bhachau line-2 at CGPL | CGPL_EXPP
CG-29 | CG-29 | CG1 | 400kV Bhachau line-3 at CGPL | CGPL_EXPP
CG-31 | CG-31 | CG1 | 400kV Bhachau line-4 at CGPL | CGPL_EXPP
CG-25 | CG-25 | CG1 | 400KV Jetpur line-1 at CGPL | CGPL_EXPP
CG-27 | CG-27 | CG1 | 400KV Jetpur line-2 at CGPL | CGPL_EXPP
CG-35 | CG-35 | CG1 | 400KV Bhuj Line-2 at CGPL | CGPL_EXPP
CG-33 | CG-33 | CG1 | 400KV Bhuj Line-1 at CGPL | CGPL_EXPP
DB-15 | DB-15 | DB1 | 400kV DB Power Line-1 at Kotra | DBPWR_EXPP
DB-16 | DB-16 | DB1 | 400kV DB Power Line-2 at Kotra | DBPWR_EXPP
DC-22 | DC-22 | DC1 | Injection of Unit-3&4 at DCPP (DCPP line at Tamnar JPL) | JDCPP_JINDL
GG-70 | GG-70 | DG1 | 400kV DGEN-1 AT NAVSARI(PG) | DGEN_EXPP
GG-71 | GG-71 | DG1 | 400kV DGEN-2 AT NAVSARI(PG) | DGEN_EXPP
DW-21 | DW-21 | DW1 | 400kV B'wati Line AT Dhariwal | DHRW_EXPP
DW-23 | DW-23 | DW1 | 400kv Parli line at Dhariwal | DHRW_EXPP
DW-27 | DW-27 | DW1 | 400kV Dhariwal line-1 at Chandrapur II | DHRW_EXPP
DW-30 | DW-30 | DW1 | 400kV Dhariwal line-2 at Chandrapur II | DHRW_EXPP
MM-22 | MM-22 | EM1 | 400kV GMR Warora line-1 AT B'wati | EMCO_EXPP
MM-23 | MM-23 | EM1 | 400kV GMR Warora line-2 AT B'wati | EMCO_EXPP
GA-11 | GA-11 | GA1 | HALDERWA-I AT GGPS | JHNR_EXP
GA-12 | GA-12 | GA1 | HALDERWA-2 AT GGPS | JHNR_EXP
GA-13 | GA-13 | GA1 | ICT-I AT GGPS | JHNR_EXP
GA-14 | GA-14 | GA1 | ICT-2 AT GGPS | JHNR_EXP
GA-35 | GA-35 | GA1 | Jhagadia at GGPS | JHNR_EXP
GA-37 | GA-37 | GA1 | Haldarwa-III at GGPS | JHNR_EXP
GA-39 | GA-39 | GA1 | 220kV side of 220/33 kV ICT | JHNR_EXP
CH-11 | CH-11 | GM1 | 400kV Raipur Energen LINE-1 AT Raipur(PS) | GMR_RAI_EXPP
CH-12 | CH-12 | GM1 | 400kV Raipur Energen LINE-2 AT Raipur(PS) | GMR_RAI_EXPP
JD-11 | JD-11 | JD1 | 400kV Raipur line-1 at JPL | JINDAL_EXPP
JD-13 | JD-13 | JD1 | 400kV Raipur line-2 at JPL | JINDAL_EXPP
WR-64 | WR-64 | JD1 | 400KV JPL II line-1 at Tamnar(PS) | JPLII_EXPP
WR-61 | WR-61 | JD1 | 400KV JPL II line-3 at Tamnar(PS) | JPLII_EXPP
WR-63 | WR-63 | JD1 | 400KV JPL II line-2 at Tamnar(PS) | JPLII_EXPP
WR-62 | WR-62 | JD1 | 400KV JPL II line-4 at Tamnar(PS) | JPLII_EXPP
JH-13 | JH-13 | JH1 | JHABUA Power line-1 at Jabalpur(PS) | JHABUA_EXPP
JH-14 | JH-14 | JH1 | JHABUA Power line-2 at Jabalpur(PS) | JHABUA_EXPP
ST-51 | ST-51 | JY1 | 400kV JP NIGRIE LINE-1 AT SATNA | JPNIG_EXPP
ST-52 | ST-52 | JY1 | 400kV JP NIGRIE LINE-2 AT SATNA | JPNIG_EXPP
PC-41 | PC-41 | KB1 | 400kV KWPCL LINE-1 AT KOTRA | KWPCL_EXPP
PC-40 | PC-40 | KB1 | 400kV KWPCL LINE-2 AT KOTRA | KWPCL_EXPP
KO-11 | KO-11 | KO1 | BHILAI-I AT KSTPS | KSTPS_EXPP
KO-12 | KO-12 | KO1 | BHILAI-II AT KSTPS | KSTPS_EXPP
KO-13 | KO-13 | KO1 | SIPAT LINE-1 AT KSTPS | KSTPS_EXPP
KO-14 | KO-14 | KO1 | BHATAPRA LINE AT KSTPS | KSTPS_EXPP
KO-15 | KO-15 | KO1 | KORBA(W) LINE AT KSTPS | KSTPS_EXPP
KO-16 | KO-16 | KO1 | MAHAN LINE AT KSTPS | KSTPS_EXPP
KO-17 | KO-17 | KO1 | VSTPS LINE-2 AT KSTPS | KSTPS_EXPP
KO-18 | KO-18 | KO1 | RAIPUR LINE-1 AT KSTPS | KSTPS_EXPP
KO-19 | KO-19 | KO1 | RAIPUR LINE-2 AT KSTPS | KSTPS_EXPP
KO-32 | KO-32 | KO1 | Birsingpur line-1 at Korba | KSTPS_EXPP
KO-34 | KO-34 | KO1 | Birsingpur line-2 at Korba | KSTPS_EXPP
KS-15 | KS-15 | KS1 | 400kV KSK Line-4 at CHAMPA(PG) | KSK_EXPP
KS-17 | KS-17 | KS1 | 400kV KSK line-3 at CHAMPA(PG) | KSK_EXPP
KW-11 | KW-11 | KW1 | HALDARWA-I | KAWAS_EXP
KW-12 | KW-12 | KW1 | HALDARWA-II | KAWAS_EXP
KW-15 | KW-15 | KW1 | NAVSARI-I | KAWAS_EXP
KW-16 | KW-16 | KW1 | NAVSARI-II | KAWAS_EXP
KW-17 | KW-17 | KW1 | VAV-I | KAWAS_EXP
KW-18 | KW-18 | KW1 | VAV-II | KAWAS_EXP
KW-13 | KW-13 | KW1 | Ichhapur line-1 | KAWAS_EXP
KW-14 | KW-14 | KW1 | Ichhapur line-2 | KAWAS_EXP
KW-29 | KW-29 | KW1 | 220kV SIDE OF 220/33kV ICT AT KAWAS | KAWAS_EXP
LK-20 | LK-20 | LK1 | 400kV LANCO LINE-1 at BILASPUR(PG) | LANCO_EXPP
LK-21 | LK-21 | LK1 | 400kV LANCO LINE-2 at BILASPUR(PG) | LANCO_EXPP
MB-40 | MB-40 | MB1 | Jabalpur(PS) line-1 at MB Power | MBPWR_EXPP
MB-42 | MB-42 | MB1 | Jabalpur(PS) line-2 at MB Power | MBPWR_EXPP
MD-21 | MD-21 | MD1 | 400kV Wardha line-1 at Mauda | MDA1_EXPP
MD-22 | MD-22 | MD1 | 400kV Wardha line-2 at Mauda | MDA1_EXPP
MD-27 | MD-27 | MD1 | 400kV Betul line-1 at Mauda | MDA1_EXPP
MD-29 | MD-29 | MD1 | 400kV Betul line-2 at Mauda | MDA1_EXPP
MN-21 | MN-21 | MN1 | 400kV V'chal line | ESRMN_EXPP
MN-23 | MN-23 | MN1 | 400kV Korba line | ESRMN_EXPP
MN-25 | MN-25 | MN1 | Bilaspur Line1 | ESRMN_EXPP
MN-27 | MN-27 | MN1 | Bilaspur Line2 | ESRMN_EXPP
CS-59 | CS-59 | NS1 | 400kV Raipur Line-1 | NSPCL_EXPP
CS-60 | CS-60 | NS1 | 400kV Raipur Line-2 | NSPCL_EXPP
CS-65 | CS-65 | NS1 | 220kV BSP Line-3 | NSPCL_EXPP
CS-66 | CS-66 | NS1 | 220kV BSP Line-4 | NSPCL_EXPP
CS-34 | CS-34 | NS1 | 220kV BSP Line-1 | NSPCL_EXPP
CS-35 | CS-35 | NS1 | 220kV BSP Line-2 | NSPCL_EXPP
RG-21 | RG-21 | RG1 | NAGOTHANE-I AT RGPL | RGPPL_EXPP
RG-22 | RG-22 | RG1 | NAGOTHANE-2 AT RGPL | RGPPL_EXPP
RG-23 | RG-23 | RG1 | NEW KOYNA-1 AT RGPL | RGPPL_EXPP
RG-24 | RG-24 | RG1 | NEW KOYNA-2 AT RGPL | RGPPL_EXPP
RK-15 | RK-15 | RK1 | RKM line-1 KOTRA(PS) | RKM_EXPP
RK-16 | RK-16 | RK1 | RKM line-2 KOTRA(PS) | RKM_EXPP
SA-17 | SA-17 | SA1 | 765kV SIDE ICT-1 AT SASAN | SASAN_EXP
SA-21 | SA-21 | SA1 | 765kV Satna line-1 at Sasan | SASAN_EXP
SA-15 | SA-15 | SA1 | STATION T/F-1 | SASAN_EXP
SA-16 | SA-16 | SA1 | STATION T/F-2 | SASAN_EXP
SA-23 | SA-23 | SA1 | 765kV Satna line-2 at Sasan | SASAN_EXP
SA-20 | SA-20 | SA1 | 765kV SIDE ICT-2 AT SASAN | SASAN_EXP
SA-29 | SA-29 | SA1 | 765kV Vindhyachal (PS) line-1 AT Sasan | SASAN_EXP
SA-31 | SA-31 | SA1 | 765kV Vindhyachal (PS) line-2 AT Sasan | SASAN_EXP
SK-15 | SK-15 | SK1 | SKS LINE-1 AT KOTRA(PG) | SKS_EXPP
SK-16 | SK-16 | SK1 | SKS LINE-2 AT KOTRA(PG) | SKS_EXPP
PG-46 | PG-46 | TR1 | TRN ENERGY LINE-1 AT TAMNAR(PS) | TRN_EXPP
PG-47 | PG-47 | TR1 | TRN ENERGY LINE-2 AT TAMNAR(PS) | TRN_EXPP
VI-11 | VI-11 | VI1 | JABALPUR LINE-1 | VSTPS123_EXPP
VI-12 | VI-12 | VI1 | JABALPUR LINE-2 | VSTPS123_EXPP
VI-13 | VI-13 | VI1 | JABALPUR LINE-3 | VSTPS123_EXPP
VI-14 | VI-14 | VI1 | REWA LINE | VSTPS123_EXPP
VI-15 | VI-15 | VI1 | SATNA LINE-1 | VSTPS123_EXPP
VI-16 | VI-16 | VI1 | SATNA LINE-2 | VSTPS123_EXPP
VI-17 | VI-17 | VI1 | HVDC POLE-1 | VSTPS123_EXPP
VI-18 | VI-18 | VI1 | HVDC POLE-2 | VSTPS123_EXPP
VI-19 | VI-19 | VI1 | MAHAN LINE-1 | VSTPS123_EXPP
VI-31 | VI-31 | VI1 | WAIDHAN LINE-1 | VSTPS123_EXPP
VI-33 | VI-33 | VI1 | WAIDHAN LINE-2 | VSTPS123_EXPP
VI-45 | VI-45 | VI1 | SATNA LINE-3 | VSTPS123_EXPP
VI-47 | VI-47 | VI1 | SATNA LINE-4 | VSTPS123_EXPP
VI-49 | VI-49 | VI1 | KSTPS LINE-2 | VSTPS123_EXPP
VI-65 | VI-65 | VI1 | Tie line-1 | VSTPS123_EXPP
VI-66 | VI-66 | VI1 | Tie line-2 | VSTPS123_EXPP
VI-67 | VI-67 | VI2 | 400KV TIE LINE-1 AT V'CHAL-4 | VSTPSIV_EXPP
VI-68 | VI-68 | VI2 | 400KV TIE LINE-2 AT V'CHAL-4 | VSTPSIV_EXPP
VI-59 | VI-59 | VI2 | 400KV VINDHYACHAL(PS) LINE-1 | VSTPSIV_EXPP
VI-61 | VI-61 | VI2 | 400KV VINDHYACHAL(PS) LINE-2 | VSTPSIV_EXPP
VI-73 | VI-73 | VI2 | 400KV VINDHYACHAL(PS) LINE-3 | VSTPSIV_EXPP
VI-75 | VI-75 | VI2 | 400KV VINDHYACHAL(PS) LINE-4 | VSTPSIV_EXPP
VI-65 | VI-65 | VI3 | 400KV TIE LINE-1 V'CHAL 5 to 3 | VSTPS5_EXPP
VI-66 | VI-66 | VI3 | 400KV TIE LINE-2 V'CHAL 5 to 3 | VSTPS5_EXPP
VI-67 | VI-67 | VI3 | 400KV TIE LINE-1 V'CHAL 5 to 4 | VSTPS5_EXPP
VI-68 | VI-68 | VI3 | 400KV TIE LINE-2 V'CHAL 5 to 4 | VSTPS5_EXPP
SO-11 | SO-11 | SO1 | 400kV SOLAPUR (PG) LINE-1 AT SOLAPUR (NTPC) | SNTPC_EXPP
SO-14 | SO-14 | SO1 | 400kV SOLAPUR (PG) LINE-2 AT SOLAPUR (NTPC) | SNTPC_EXPP
SO-17 | SO-17 | SO1 | 400kV SOLAPUR (PG) LINE-3 AT SOLAPUR (NTPC) | SNTPC_EXPP
SO-20 | SO-20 | SO1 | 400kV SOLAPUR (PG) LINE-4 AT SOLAPUR (NTPC) | SNTPC_EXPP
LA-11 | LA-11 | LA1 | 400KV KOTRA(PS) LINE-1 AT LARA(NTPC) | LARA4_EXPP
LA-14 | LA-14 | LA1 | 400KV KOTRA(PS) LINE-2 AT LARA(NTPC) | LARA4_EXPP
LA-17 | LA-17 | LA1 | 400KV CHAMPA(PS) LINE-1 AT LARA(NTPC) | LARA4_EXPP
LA-19 | LA-19 | LA1 | 400KV CHAMPA(PS) LINE-2 AT LARA(NTPC) | LARA4_EXPP
GD-11 | GD-11 | GD1 | JABALPUR LINE-1 AT GADARWARA(NTPC) | GDRWD_EXPP
GD-13 | GD-13 | GD1 | JABALPUR LINE-2 AT GADARWARA(NTPC) | GDRWD_EXPP
GD-17 | GD-17 | GD1 | WARORA LINE-1 AT GADARWARA(NTPC) | GDRWD_EXPP
GD-19 | GD-19 | GD1 | WARORA LINE-2 AT GADARWARA(NTPC) | GDRWD_EXPP
KH-06 | KH-06 | KH1 | 400kV KHANDWA CKT-1 AT KHARGONE | KHRGN_EXPP
KH-07 | KH-07 | KH1 | 400kV RAJGARH CKT-1 AT KHARGONE | KHRGN_EXPP
KH-14 | KH-14 | KH1 | 400kV KHANDWA (STERLITE) LINE-1 AT KHARGONE | KHRGN_EXPP
KH-16 | KH-16 | KH1 | 400kV KHANDWA (STERLITE) LINE-2 AT KHARGONE | KHRGN_EXPP
KA-29 | KA-29 | KA3 | 400kV KAPS3&4 Vapi-1 | KAP34_EXPP
KA-31 | KA-31 | KA3 | 400kV KAPS3&4 Vapi-2 | KAP34_EXPP
KA-33 | KA-33 | KA3 | 400kV KAPS3&4 Navsari-1 | KAP34_EXPP
KA-35 | KA-35 | KA3 | 400kV KAPS3&4 Navsari-2 | KAP34_EXPP
KA-06 | KA-06 | KA3 | ST-3 AT KAPS 3&4 | KAP34_EXPP
KA-09 | KA-09 | KA3 | ST-4 AT KAPS 3&4 | KAP34_EXPP
TA-30 | TA-30 | TA3 | 400 kV Padghe line-1 at TAPS 3 & 4 | TAPS2_EXPP
TA-29 | TA-29 | TA3 | 400 kV Padghe line-2 at TAPS 3 & 4 | TAPS2_EXPP
TA-32 | TA-32 | TA3 | 400 kV Boisar line-1 at TAPS 3 & 4 | TAPS2_EXPP
TA-31 | TA-31 | TA3 | 400 kV Boisar line-2 at TAPS 3 & 4 | TAPS2_EXPP
TA-41 | TA-41 | TA3 | 220 kV TAPS 3&4 line at TAPS 1 & 2 | TAPS2_EXPP
TA-52 | TA-52 | TA3 | 220 kV Boisar line at TAPS 3 & 4 | TAPS2_EXPP
TA-21 | TA-21 | TA1 | 220 kV Boisar line at TAPS 1 & 2 | TAPS1_EXPP
TA-23 | TA-23 | TA1 | 220 kV Borivalli line at TAPS 1 & 2 | TAPS1_EXPP
TA-27 | TA-27 | TA1 | 220 kV Vapi line at TAPS 1 & 2 | TAPS1_EXPP
TA-28 | TA-28 | TA1 | 220 kV Bhilad line at TAPS 1 & 2 | TAPS1_EXPP
TA-41 | TA-41 | TA1 | 220 kV TAPS 3&4 line at TAPS 1 & 2 | TAPS1_EXPP
TA-81 | TA-81 | TA1 | 33 kV TAPS3&4 Aux feeder-1 at TAPS 1 & 2 | TAPS1_EXPP
TA-82 | TA-82 | TA1 | 33 kV TAPS3&4 Aux feeder-2 at TAPS 1 & 2 | TAPS1_EXPP
BR-11 | BR-11 | TA1 | 33 kV BARC drawal feeder-4 at TAPS 1 & 2 | TAPS1_EXPP
BR-12 | BR-12 | TA1 | 33 kV BARC drawal feeder-6 at TAPS 1 & 2 | TAPS1_EXPP
KA-21 | KA-21 | KA1 | 220 kV Haldarwa line-1 at KAPS 1 & 2 | KAP12_EXPP
KA-22 | KA-22 | KA1 | 220 kV Haldarwa line-2 at KAPS 1 & 2 | KAP12_EXPP
KA-23 | KA-23 | KA1 | 220 kV Vapi line-1 at KAPS 1 & 2 | KAP12_EXPP
KA-24 | KA-24 | KA1 | 220 kV Vapi line-2 at KAPS 1 & 2 | KAP12_EXPP
KA-25 | KA-25 | KA1 | 220 kV Vav line-1 at KAPS 1 & 2 | KAP12_EXPP
KA-26 | KA-26 | KA1 | 220 kV Vav line-2 at KAPS 1 & 2 | KAP12_EXPP
KA-28 | KA-28 | KA1 | 220 kV Ukai/Mota(T connection) line at KAPS 1 & 2 | KAP12_EXPP
KA-06 | KA-06 | KA1 | 220 kV SUT-3 at KAPS 1 & 2 | KAP12_EXPP
KA-09 | KA-09 | KA1 | 220 kV SUT-4 at KAPS 1 & 2 | KAP12_EXPP
SS-21 | SS-21 | SS1 | 400 kV Kasor line -1 at SSP | SSP_EXPP
SS-27 | SS-27 | SS1 | 400 kV Asoj line -1 at SSP | SSP_EXPP
SS-25 | SS-25 | SS1 | 400 kV Rajgarh line -1 at SSP | SSP_EXPP
SS-26 | SS-26 | SS1 | 400 kV Rajgarh line -2 at SSP | SSP_EXPP
SS-29 | SS-29 | SS1 | 400 kV Dhule line -1 at SSP | SSP_EXPP
SS-23 | SS-23 | SS1 | 400 kV Dhule line -2 at SSP | SSP_EXPP

## state
Lines | SEM | file | SCADA | Display_Name
MH-21 | MH-21 | MH | 400kV BHADRAVATI LINE-1 AT CHANDRAPUR | Maharashtra
MH-22 | MH-22 | MH | 400kV BHADRAVATI LINE-2 AT CHANDRAPUR | Maharashtra
MH-25 | MH-25 | MH | 400kV KHANDWA LINE-1 AT DHULE | Maharashtra
MH-26 | MH-26 | MH | 400kV KHANDWA LINE-2 AT DHULE | Maharashtra
SS-23 | SS-23 | MH | 400kV DHULE LINE-2 AT SSP(MAIN) | Maharashtra
MH-29 | MH-29 | MH | 400kV BHILAI LINE AT KORADI | Maharashtra
MH-30 | MH-30 | MH | 400kV SATPURA LINE AT KORADI | Maharashtra
TA-21 | TA-21 | MH | 220kV BOISAR LINE AT TAPS | Maharashtra
TA-23 | TA-23 | MH | 220kV BORIVALI LINE AT TAPS | Maharashtra
MH-31 | MH-31 | MH | 400kV BOISAR LINE AT PADGHE | Maharashtra
GO-51 | GO-51 | MH | 220kV MUSHTUNGI LINE AT AMONA | Maharashtra
GO-52 | GO-52 | MH | 220kV TILLARI LINE AT AMONA | Maharashtra
MH-54 | MH-54 | MH | 220kV NAVSARI LINE-1 AT NASIK | Maharashtra
MH-55 | MH-55 | MH | 220kV NAVSARI LINE-2 AT NASIK | Maharashtra
MH-44 | MH-44 | MH | 400kV WARDHA LINE-1 AT AKOLA | Maharashtra
MH-46 | MH-46 | MH | 400kV WARDHA LINE-2 AT AKOLA | Maharashtra
MM-12 | MM-12 | MH | 400kV SIDE OF 765/400kV ICT-1 AT WARDHA(PG) | Maharashtra
MM-61 | MM-61 | MH | 400kV SIDE OF ICT-3 AT BOISAR(PG) | Maharashtra
PC-19 | PC-19 | MH | 400kV DHULE (BDTCL) LINE-1 AT DHULE(MSETCL) | Maharashtra
PC-20 | PC-20 | MH | 400kV DHULE (BDTCL) LINE-2 AT DHULE(MSETCL) | Maharashtra
MA-03 | MA-03 | MH | 400kV PADGHE(PG) LINE-1 AT KUDUS(MSETCL) | Maharashtra
MA-04 | MA-04 | MH | 400kV PADGHE(PG) LINE-2 AT KUDUS(MSETCL) | Maharashtra
MA-01 | MA-01 | MH | 400kV KALA LINE-1 AT KUDUS(MSETCL) | Maharashtra
MA-02 | MA-02 | MH | 400kV KALA LINE-2 AT KUDUS(MSETCL) | Maharashtra
PR-26 | PR-26 | MH | 38.5 KV SIDE OF STATCOM AUXILIARY TRANSFORMER AT AURANGABAD | Maharashtra
PR-27 | PR-27 | MH | ICT-4 AT BOISAR(PG) | Maharashtra
PR-31 | PR-31 | MH | 33 KV SIDE OF 765/400 KV ICT-2 AT WARORA (PG) | Maharashtra
PE-22 +PE-24 | PE-22 +PE-24 | MH | 132KV KANHAN LINE- AND MANSAR LINE AT PENCH | Maharashtra
MM-32 | MM-32 | MH | 400kV PUNE (GIS) LINE-1 AT PUNE(PG) | Maharashtra
MM-33 | MM-33 | MH | 400kV PUNE (GIS) LINE-2 AT PUNE(PG) | Maharashtra
MH-57 | MH-57 | MH | 220kV PANDURNA LINE AT KALMESHWAR | Maharashtra
MH-AD | MH-AD | MH | ADJUSTMENT | Maharashtra
WR-84 +WR-85 | WR-84 +WR-85 | MH | 11KV SUPPLY-1 AND 2 FROM MSEB AT BHADRAVATHI | Maharashtra
MH-34 | MH-34 | MH | 400kV TAPS 3&4 LINE-1 AT PADGHE | Maharashtra
MH-37 | MH-37 | MH | 400kV TAPS 3&4 LINE-2 AT PADGHE | Maharashtra
MH-01 | MH-01 | MH | 400kV SIDE OF ICT-1 AT BOISAR(PG) | Maharashtra
MH-03 | MH-03 | MH | 400kV SIDE OF ICT-2 AT BOISAR(PG) | Maharashtra
MH-58 | MH-58 | MH | 220kV TAPS 3&4 LINE AT BOISAR(PG) | Maharashtra
SS-29 | SS-29 | MH | 400kV DHULE LINE-1 AT SSP(MAIN) | Maharashtra
MH-38 | MH-38 | MH | 400kV BHADRAVATI LINE-3 AT CHANDRAPUR | Maharashtra
MH-39 | MH-39 | MH | 400kV BHADRAVATI LINE-4 AT CHANDRAPUR | Maharashtra
MH-80 | MH-80 | MH | 400kV WARORA LINE-1 AT WARDHA | Maharashtra
MH-81 | MH-81 | MH | 400kV WARORA LINE-2 AT WARDHA | Maharashtra
MH-65 | MH-65 | MH | 400kV PARLI(PG) LINE-2 AT PARLI(MSEB) | Maharashtra
MH-66 | MH-66 | MH | 400kV PARLI(PG) LINE-1 AT PARLI(MSEB) | Maharashtra
RG-21 | RG-21 | MH | 400kV NAGOTHANE LINE-1 AT RGPPL | Maharashtra
RG-22 | RG-22 | MH | 400kV NAGOTHANE LINE-2 AT RGPPL | Maharashtra
RG-23 | RG-23 | MH | 400kV NEW KOYANA LINE-1 AT RGPPL | Maharashtra
RG-24 | RG-24 | MH | 400kV NEW KOYANA LINE-2 AT RGPPL | Maharashtra
MH-76 | MH-76 | MH | 400kV PARLI(PG) LINE-1 AT SOLAPUR(PG) | Maharashtra
MH-77 | MH-77 | MH | 400kV PARLI(PG) LINE-2 AT SOLAPUR(PG) | Maharashtra
PG-41 | PG-41 | MH | 400kV SOLAPUR STPS(NTPC) LINE-1 AT SOLAPUR(PG) | Maharashtra
PG-40 | PG-40 | MH | 400kV SOLAPUR STPS(NTPC) LINE-2 AT SOLAPUR(PG) | Maharashtra
MH-43 | MH-43 | MH | 400kV AKOLA LINE-1 AT WARDHA | Maharashtra
MH-45 | MH-45 | MH | 400kV AKOLA LINE-2 AT WARDHA | Maharashtra
MM-13 | MM-13 | MH | 400kV MAUDA(NTPC) LINE-1 AT WARDHA(PG) | Maharashtra
MM-14 | MM-14 | MH | 400kV MOUDA(NTPC) LINE-2 AT WARDHA | Maharashtra
MM-17 | MM-17 | MH | 400kV SIDE OF 765/400kV ICT-2 AT WARDHA | Maharashtra
MM-19 | MM-19 | MH | 400kV SIDE OF 765/400kV ICT-3 AT WARDHA | Maharashtra
MM-47 | MM-47 | MH | 400kV SIDE OF ICT-1 AT AURANGABAD(PG) | Maharashtra
MM-49 | MM-49 | MH | 400kV SIDE OF ICT-2 AT AURANGABAD(PG) | Maharashtra
MM-20 | MM-20 | MH | 400kV RAIPUR LINE-1 AT WARDHA | Maharashtra
MM-21 | MM-21 | MH | 400kV RAIPUR LINE-2 AT WARDHA | Maharashtra
MH-47 | MH-47 | MH | 400kV AURANGABAD(PG) LINE-1 AT AKOLA | Maharashtra
MH-48 | MH-48 | MH | 400kV AURANGABAD(PG) LINE-2 AT AKOLA | Maharashtra
MH-49 | MH-49 | MH | 400kV AURANGABAD(PG) LINE-1 AT AURANGABAD(MSEB) | Maharashtra
MH-50 | MH-50 | MH | 400kV AURANGABAD(PG) LINE-2 AT AURANGABAD(MSEB) | Maharashtra
MM-26 | MM-26 | MH | 400kV KOLHAPUR LINE AT SOLAPUR(PG) | Maharashtra
MM-27 | MM-27 | MH | 400kV ALKUD LINE AT SOLAPUR(PG) | Maharashtra
MM-28 | MM-28 | MH | 400kV ALKUD LINE AT KOLHAPUR | Maharashtra
MM-29 | MM-29 | MH | 400kV SOLAPUR(PG) LINE-1 AT KOLHAPUR | Maharashtra
MH-32 | MH-32 | MH | 400kV KOLHAPUR(GIS) LINE-1 AT KOLHAPUR(MSETCL) | Maharashtra
MH-33 | MH-33 | MH | 400kV KOLHAPUR(GIS) LINE-2 AT KOLHAPUR(MSETCL) | Maharashtra
MM-36 | MM-36 | MH | 400kV PUNE (GIS) LINE-3 AT PUNE(PG) | Maharashtra
MM-37 | MM-37 | MH | 400kV PUNE (GIS) LINE-4 AT PUNE(PG) | Maharashtra
MM-38 | MM-38 | MH | 400kV PUNE LINE-1 AT AURANGABAD (MSECTL) | Maharashtra
MM-39 | MM-39 | MH | 400kV PUNE LINE-2 AT AURANGABAD (MSETCL) | Maharashtra
MM-52 | MM-52 | MH | 400kV SIDE OF 765/400kV ICT-1 AT SOLAPUR(PG) | Maharashtra
MM-54 | MM-54 | MH | 400kV SIDE OF 765/400kV ICT-2 AT SOLAPUR(PG) | Maharashtra
PG-81 | PG-81 | MH | 400kV SOLAPUR STPS(NTPC) LINE-3 AT SOLAPUR(PG) | Maharashtra
PG-82 | PG-82 | MH | 400kV SOLAPUR STPS(NTPC) LINE-4 AT SOLAPUR(PG) | Maharashtra
PT-21 | PT-21 | MH | 400kV KOLHAPUR(PG) LINE AT ALKUD(MSETCL) | Maharashtra
PT-22 | PT-22 | MH | 400kV SOLAPUR(PG) LINE AT ALKUD(MSETCL) | Maharashtra
PR-42 | PR-42 | MH | 400kV SIDE OF ICT1 AT PARLI (PG) | Maharashtra
PR-43 | PR-43 | MH | 400kV SIDE OF ICT-2 AT PARLI (PG) | Maharashtra
PG-12 | PG-12 | MH | 33kV SIDE OF ICT(400/220/33KV) AT BHADRAWATI(PG) | Maharashtra
WA-03 | WA-03 | MH | 400kV AURANGABAD LINE-1 AT WARDHA | Maharashtra
WA-04 | WA-04 | MH | 400kV AURANGABAD LINE-2 AT WARDHA | Maharashtra
DW-27 | DW-27 | MH | 400kV Dhariwal line-1 at Chandrapur II | Maharashtra
DW-30 | DW-30 | MH | 400kV Dhariwal line-2 at Chandrapur II | Maharashtra
MH-91 | MH-91 | MH | NET DRAWAL OF MAHARASHTRA | Maharashtra

## test
ISGS |  |  |  | Display_Name
SP-91 | (SP-91) | IN7 | SIPAT_EXPP
RE
JM-91 | POWERICA WIND | IN4
GS-91 | GS-91 | IN6
CR-91 | SKRPL WIND INJECTION | IN4
MJ-91 | SESPL WIND | IN4
GR-91 | Gandhar SOLAR INJECTION | IN4

## States
TD1 | DD-901) + (DN-901 | DR3 | Display_Name
GO1 | GO-901
CS1 | CS-901
MP2 | MP-901
GU2 | GU-901
HZ1 | HZ-901
BR1 | BR-901
MH2 | MH-901
NR1 | NR-901
ER1 | ER-901
SR1 | SR-901